## Archetypes
type | cost | capacity-MW | description
windpark-small-offshore | 26240000 | 20 | small offshore wind park
windpark-large-offshore | 157440000 | 120 | large offshore wind park
windpark-medium-offshore | 164000000 | 125 | medium offshore wind park
solarpark-small | 10885500 | 15 | small solar photovoltaic power station
solarpark-large | 34107900 | 47 | large solar photovoltaic power station
solarpark-medium | 21045300 | 29 | medium solar photovoltaic power station
solar-generating-district | 0 | 0.25 | solar power generating district
windpark-small-onshore | 4100000 | 5 | small onshore wind park
windpark-large-onshore | 15580000 | 19 | large onshore wind park
windpark-medium-onshore | 7380000 | 9 | medium onshore wind park

## Offshore wind
Wind farm | Location | Capacity (MW) | Turbines | Commissioning | Building cost | Depth range (m) | km to shore | Owner | References
Borssele 1 & 2 |  | 752 | 94 * Siemens Gamesa 8 MW | Expected 2020 |  | 14–40 | 22 | Ørsted | https://en.wikipedia.org/wiki/Wind_power_in_the_Netherlands#Offshore_wind_power
Egmond aan Zee (OWEZ) | 52°36'22?N 4°25'8?E | 108 | 36x Vestas V90-3MW | 2008 | 200000000 | 15–18 | 13 | Nuon, Shell | https://en.wikipedia.org/wiki/Wind_power_in_the_Netherlands#Offshore_wind_power
Eneco Luchterduinen | 52°24'18?N 4°09'43?E | 129 | 43 × Vestas V112/3000 | 2015 | 450000000 | 18–24 | 24 | Eneco, Mitsubishi | https://en.wikipedia.org/wiki/Wind_power_in_the_Netherlands#Offshore_wind_power
Friesland | 53°2'26?N 5°16'59?E | 320 | 89 × Siemens SWT-3.6–107 | 2021 |  | 3–4 | 2 | Windpark Fryslân B.V. | https://en.wikipedia.org/wiki/Wind_power_in_the_Netherlands#Offshore_wind_power
Gemini | 54°2'13?N 5°57'54?E | 600 | 150x Siemens SWT- 4.0–130 | 2017 | 2800000000 | 28–36 | 55 | Northland Power, Siemens, Van Oord, HVC Groep | https://en.wikipedia.org/wiki/Wind_power_in_the_Netherlands#Offshore_wind_power
Irene Vorrink | 52°35'53?N 5°35'20?E | 17 | 28x Nordtank NTK600/43 | 1996 | 23456790.1235 | 2–3 | 1 | Nuon | https://en.wikipedia.org/wiki/Wind_power_in_the_Netherlands#Offshore_wind_power
Lely (decommissioned 2016) | 52°47'49?N 5°7'8?E | 2 | 4x Nedwind 500 kW/41 | 1994 | 5605095.5414 | 3–4 | 0.8 | Nuon | https://en.wikipedia.org/wiki/Wind_power_in_the_Netherlands#Offshore_wind_power
Princess Amalia | 52°35'16?N 4°13'23?E | 120 | 60x Vestas V80-2MW | 2008 | 350000000 | 19–24 | 26 | Eneco Energie | https://en.wikipedia.org/wiki/Wind_power_in_the_Netherlands#Offshore_wind_power
Capacity (MW) | [6 empty] | Average cost from literature | Unit | Dollar to Euro | Average cost for offshore wind | Unit | Source
1st percentile |  | 39.75 |  |  |  |  | 1600 | $/kW | 0.82 | 1312000 | €/MW | Ragheb, Magdi. ‘Chapter 25 - Economics of Wind Power Generation’. In Wind Energy Engineering, edited by Trevor M. Letcher, 537–55. Academic Press, 2017. https://doi.org/10.1016/B978-0-12-809451-8.00025-4.
Median |  | 124.5
3rd percentile |  | 530 |  |  |  |  | cost from graph of | 1 | MW | = | 3003588.8 | €
This last cost is not considered because it averages costs of plants built at different times, and different technology
levels. Currently the technology level is a different one for smaller wind plants, than what considered by this
graph's model. Therefore we take the average cost from literature, which although being only a linear model,
it is a more recent figure and academically accepted.
[7 empty] | Offshore Cost per MW | 1312000 | €/MW
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Onshore wind
Province | name | capacity (MW) | Source
South-Holland | Windpark Spui | 21 | https://www.eurus-energy.com/en/project/project-list/
South-Holland | Windpark De Lier | 2.3 | https://www.eurus-energy.com/en/project/project-list/
South-Holland | Windpark Zoetermeer | 9 | https://www.eurus-energy.com/en/project/project-list/
South-Holland | Windpark Vlaardingen | 6 | https://www.eurus-energy.com/en/project/project-list/
Flevoland | Windpark Lely | 5.2 | https://www.eurus-energy.com/en/project/project-list/
Limburg | Windpark Boerderijweg | 9.2 | https://www.eurus-energy.com/en/project/project-list/
Overijssel | Windpark Dalfsen | 9.9 | https://www.eurus-energy.com/en/project/project-list/
Overijssel | Windpark Tolhuis | 9.9 | https://www.eurus-energy.com/en/project/project-list/
Zeeland | Windpark Vlissingen | 2 | https://www.eurus-energy.com/en/project/project-list/
Zeeland | Windpark Oesterdam | 5 | https://www.eurus-energy.com/en/project/project-list/
Zeeland | Windpark Ijslandweg | 2.3 | https://www.eurus-energy.com/en/project/project-list/
North-Brabant | Windpark Van Gogh | 10 | https://www.eurus-energy.com/en/project/project-list/
Gelderland | Windpark Deil | 21 | https://www.eurus-energy.com/en/project/project-list/
Gelderland | Windpark Duiven | 8 | https://www.eurus-energy.com/en/project/project-list/
Gelderland | Windpark Buren | 8 | https://www.eurus-energy.com/en/project/project-list/
Gelderland | Windpark Netterden | 13.8 | https://www.eurus-energy.com/en/project/project-list/
Drenthe | Windpark Coevorden | 5.88 | https://www.eurus-energy.com/en/project/project-list/
Groningen | Windpark Mondriaan | 38.7 | https://www.eurus-energy.com/en/project/project-list/
Groningen | Windpark Mauve | 30.1 | https://www.eurus-energy.com/en/project/project-list/
Groningen | Windpark Vermeer | 86 | https://www.eurus-energy.com/en/project/project-list/
Capacity (MW)
| 1st percentile | 5.2
| Median | 9.1
| 3rd percentile | 19.2
Average cost from literature | Unit | Dollar to Euro | Average cost for offshore wind | Unit | Source
1000 | $/kW | 0.82 | 820000 | €/MW | Ragheb, Magdi. ‘Chapter 25 - Economics of Wind Power Generation’. In Wind Energy Engineering, edited by Trevor M. Letcher, 537–55. Academic Press, 2017. https://doi.org/10.1016/B978-0-12-809451-8.00025-4.
Onshore Cost per MW | 820000 | €/MW
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Solar Photovoltaic
State | Name | Capacity (MW) | # panels | location | source
Under construction | Midden-Groningen | 103 | 320000 | Hoogezand-Sappemeer | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop50
Operational | Scaldia | 54 | 140000 | Borsele/Vlissingen | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop51
Operational | Budel | 44 | 170000 | Nyrstar Budel | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop52
Under construction | Ooltgensplaat | 40 | 136000 | Ooltgensplaat | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop53
Operational | Sunport Delfzijl | 30 | 123000 | Delfzijl | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop54
Operational | Shell Moerdijk | 27 | 76000 | Moerdijk | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop55
Operational | Veendam | 15.5 | 57250 | Veendam | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop56
Operational | Groene Hoek | 15 | 125000 | Hoofddorp | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop57
Operational | Andijk | 15 | 45000 | Andijk Zuid, Medemblik | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop58
Operational | Lange Runde | 14 | 118000 | Emmen | https://www.solarplaza.com/channels/top-10s/12011/top-50-solar-projects-netherlands/#accesstop59
Capacity (MW)
| 1st percentile | 15
| Median | 28.5
| 3rd percentile | 46.5
Type of installation | Cost from governmental reports | Unit | Exchange rate | Unit | Cost in Euros | Unit | Source
residential | 2.83 | $/W | 0.82 | €/$ | 2.3206 | €/W | https://www.seia.org/research-resources/solar-market-insight-report-2020-q3
utility fixed-tilt tracking system | 0.82 | $/W | 0.82 | €/$ | 0.6724 | €/W | https://www.seia.org/research-resources/solar-market-insight-report-2020-q4
utility single-axis tracking system | 0.95 | $/W | 0.82 | €/$ | 0.779 | €/W | https://www.seia.org/research-resources/solar-market-insight-report-2020-q5
Solar Cost per MW | 725700 | €/MW
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.